## Slide 1: CSE 109 Electrical Circuits II
Dr. Md. Forkan Uddin
Associate Professor
Department of Electrical and Electronic Engineering (EEE)
Bangladesh University of Engineering and Technology (BUET)

## Slide 2: Three Phase (3-φ) Balanced Circuit

## Slide 3: Different Systems
Single-phase two-wire system
Two-phase three-wire system
Phase difference: 900
Three-phase four-wire system
Phase difference: 1200

## Slide 4: Balanced Three-Phase Voltages
Balanced system:
Equal magnitudes
Out of phase by 1200

## Slide 5: Phase Sequence
Sequence: abc or bca or cab
Since the three-phase voltages are out of phase with each other by 120o, there are two possible combinations
Sequence: acb or cba or bac

## Slide 6: Balanced Load
A balanced load is one in which the phase impedances are equal in magnitude and in phase

## Slide 7: Combinations of Source and Load
Assumption for the following discussions:
Phase Sequence: abc

## Slide 8: 1. Balanced Y-Y Connection (1/3)
Total load impedance per phase
Total load impedance per phase
ZY

## Slide 9: 1. Balanced Y-Y Connection (2/3)
Voltages

## Slide 10: 1. Balanced Y-Y Connection (3/3)
IL = IP
For any Y-connection (source or load):
VL = Line (line-to-line) voltage
VP = Phase voltage
IL = Line current
IP = phase current

## Slide 11: 2. Balanced Y-Δ Connection (1/2)
This is the most practical three-phase system, as the three-phase sources are usually Y-connected while the three-phase loads are usually Δ-connected
Voltages (Similar to Y-Y)
Thus, for the Y-connected source:
IL = IP

## Slide 12: 2. Balanced Y-Δ Connection (2/2)
Currents
For any Δ-connection (source or load):
VL = VP

## Slide 13: 3. Balanced Δ-Δ Connection (1/1)
VL = VP
VL = VP
For source side:
For load side:

## Slide 14: 4. Balanced Δ-Y Connection (1/1)
VL = VP
For source side:
For load side:
IL = IP